## Sheet1
Item ID | Dev ID | Qty | Catalog Number | Description | DS | PGC | List Ea | Sell Multiplier | Net Ea | Ext Net Ea (US) | Typical Delivery | Wt (kg)
Multi-Sight Inspection Bill of Material
Click Refresh upon opening to update / refresh your data
Use the following set of equipment to start the selection of your MultiSight Vision Sensing Equipment
1 |  | 2 | 48MS-SN1PF2-M2 | 48MS Vision Sensor, 12 mm, 32 Detectors, EtherNet/IP, 8 pin Micro QD, M12 Micro D-Code 4 pin enet |  |  | 0 | 1 | 0 | 0 | Stocked | 0
1.1 |  | 4 | 1585D-M4UBDE-2 | 1585 EtherNet Cables, 4 Conductors, M12, Straight Male, M12, Right Angle Male, Teal PUR, Shielded, High Flex, PUR, Halogen Free, 10 million cycles |  |  | 0 | 1 | 0 | 0 |  | 0
1.1.1 |  | 4 | 1585BZ-M8CC | Metal Variant 1 Housing Plug with RJ45 IDC Insert |  |  | 0 | 1 | 0 | 0 | Stocked | 0
1.1.2 |  | 4 | 1585BZ-F8CC-H | Metal Variant 1 Outlet with Insert RJ45 to IDC |  |  | 0 | 1 | 0 | 0 |  | 0
1.1.3 |  | 4 | 1585BZ-F8CC | Metal Variant 1 Outlet with Insert RJ45 to RJ45 |  |  | 0 | 1 | 0 | 0 | Stocked | 0
1.1.4 |  | 4 | 1585J-M8CC-H | RJ45 Insulation Displacement Connector (IDC) |  |  | 0 | 1 | 0 | 0 | Stocked | 0
1.1.5 |  | 4 | 1585J-M8CC-C | RJ45 Crimp Connector with Boot (Qty. of 20) |  |  | 0 | 1 | 0 | 0 | Non-Stocked | 0
1.2 |  | 2 | 889D-F8FBDM-4 | Patchcord: DC Micro (M12), Female, Straight, 8-Pin, PVC Cable, Yellow, Foil Shield w/Braid, 24AWG, DC Mic, Male, Straight, 4 meter (13.12 feet) |  |  | 0 | 1 | 0 | 0 |  | 0
Subtotal: $ 0.00
Use the following set of equipment to start the selection of your Control and Visualization Equipment
2 |  | 1 | 1763-L16BBB | MicroLogix 1100, 24V dc power, (10) 24V dc digital inputs, (2) 10V analog inputs, (2) relay outputs, (4) 24V dc FET outputs |  |  | 0 | 1 | 0 | 0 | Stocked | 0
3 |  | 1 | 2711C-T6C | 6" Color (Transmissive CSTN) Touchscreen |  |  | 0 | 1 | 0 | 0 |  | 0
4 |  | 1 | 1783-US05T | Stratix 2000 Switch, Unmanaged, 5 Copper Ports |  |  | 0 | 1 | 0 | 0 | Stocked | 0
5 |  | 2 | 1585J-M8PBJM-2 | 1585 EtherNet Cables, 8 Conductors, RJ45, Straight Male, RJ45, Teal Riser PVC, UL CMR, CMX; cUL CMG; Standard TIA 568-B |  |  | 0 | 1 | 0 | 0 | Stocked | 0
Subtotal: $ 0.00
Use the following set of equipment to start the selection of your Programming Software
6 |  | 1 | 9324-RLM0100ENE | RSLogix Micro Starter, English, CD-ROM |  |  | 0 | 1 | 0 | 0 |  | 0
Subtotal: $ 0.00
Use the following set of equipment to start the selection of your optional Sensors/StackLights. Note that examples of different connection methods are included, change as needed. Delete any un-needed components.
Signaling
7 |  | 1 | 855D-P25SC20G24Y3Y4 | Compact Tower Light, 30 mm, Aluminum Pole-Mount with Foot, 25cm, No Network Option, Stranded Cable, 2 meter, Yellow Jacket, Grey, 24V AC/DC, Green Steady LED, Red Steady LED, No Module, No Module, No Module |  |  | 0 | 1 | 0 | 0 | Quick Ship | 0
Presense Sensor
8 |  | 2 | 42CM-D8MPA-D4 | PHOTOSWITCH Photoelectric Sensor, 300mm (12in), Standard Diffuse, Source (PNP), 4-pin DC Micro QD |  |  | 0 | 1 | 0 | 0 | Stocked | 0
8.1 |  | 2 | 889D-F4AD-C | Cordset: DC Micro (M12), Female, Straight, 4-Pin, PVC Cable, Yellow, Unshielded, 20AWG, IEC Color CodedNo Connector, Coiled, |  |  | 0 | 1 | 0 | 0 |  | 0
8.2 |  | 2 | 871A-BP18 | Clamp Style Mounting Bracket, Plastic, 18mm Diameter, For use with 871A-BXN8 and 871A-BXS8 Spring Return Brackets |  |  | 0 | 1 | 0 | 0 | Stocked | 0
Subtotal: $ 0.00
Use the following set of equipment to start the selection of your E-Stop Pushbutton
E-Stop
9 |  | 1 | 800FP-MT44 | 800F Non-Illuminated Mushroom Operators, Twist to Release, 40mm, Round Plastic (Type 4/4X/13, IP66), Red, , Standard Pack (Qty. 1) |  |  | 0 | 1 | 0 | 0 | Stocked | 0
9.1 |  | 1 | 800F-ALP | Plastic Latch |  |  | 0 | 1 | 0 | 0 | Stocked | 0
9.2 |  | 2 | 800F-X01 | 22.5mm PB No Latch, Screw Contact Block, 1 N.C. |  |  | 0 | 1 | 0 | 0 | Stocked | 0
Subtotal: $ 0.00
Use the following set of equipment to start the selection of your optional PBs. Note that examples of different connection methods are included, change as needed. Delete any un-needed components.
Selector Switch
10 |  | 1 | 800FP-SM32 | 800F 3 Position Selector Switch - Plastic, Maintained, Black, Standard Knob, Standard Orientation, Standard Pack (Qty. 1) |  |  | 0 | 1 | 0 | 0 | Stocked | 0
10.1 |  | 2 | 800F-X10 | 22.5mm PB No Latch, Screw Contact Block, 1 N.O. |  |  | 0 | 1 | 0 | 0 | Stocked | 0
10.2 |  | 1 | 800F-ALP | Plastic Latch |  |  | 0 | 1 | 0 | 0 | Stocked | 0
11 |  | 1 | 800F-11WE104 | 800F Legend Plate, 30 X 40mm Std., 2 Piece Snap-In (Plate and Frame), English: AUTO - OFF - HAND, White with Black Legend Text, 22.5mm Opening |  |  | 0 | 1 | 0 | 0 | Quick Ship | 0
Start Button
12 |  | 1 | 800FP-F306 | 800F Push Button - Plastic, Flush, Green, I, Standard Pack (Qty. 1) |  |  | 0 | 1 | 0 | 0 | Stocked | 0
12.1 |  | 1 | 800F-ALP | Plastic Latch |  |  | 0 | 1 | 0 | 0 | Stocked | 0
12.2 |  | 1 | 800F-X10 | 22.5mm PB No Latch, Screw Contact Block, 1 N.O. |  |  | 0 | 1 | 0 | 0 | Stocked | 0
Stop Button
13 |  | 1 | 800FP-E405 | 800F Push Button - Plastic, Extended, Red, O, Standard Pack (Qty. 1) |  |  | 0 | 1 | 0 | 0 | Stocked | 0
13.1 |  | 1 | 800F-ALP | Plastic Latch |  |  | 0 | 1 | 0 | 0 | Stocked | 0
13.2 |  | 2 | 800F-X10 | 22.5mm PB No Latch, Screw Contact Block, 1 N.O. |  |  | 0 | 1 | 0 | 0 | Stocked | 0
Subtotal: $ 0.00
Use the following set of equipment to start the selection of your Control Circuit Components .
Control Power Supply
14 |  | 1 | 1606-XLP95E | 1606-XLP95E: Compact Power Supply, 24-28V DC, 95 W, 120/240V AC / 85-375V DC Input Voltage |  |  | 0 | 1 | 0 | 0 | Stocked | 0
Output Contactors
15 |  | 2 | 100-C40ZJ200 | MCS-C Contactor, IEC, 37A, 24V DC, Single Pack |  |  | 0 | 1 | 0 | 0 | Non-Stocked | 0
Subtotal: $ 0.00
Use one of the following three sets of Power Circuit Components to start your Design. Delete the other two sets and any un-needed components and adapt the design to your specific needs.
Power Circuit Components - 380 VAC - 480 VAC, 4 pole Circuit Breaker Disconnect Option
380VAC / 480VAC 4 Pole Circuit Breaker Disconnect Power Option
16 |  | 1 | 140UE-H2E4-C32 | IEC Molded Case Circuit Breaker, 160A, H-Frame, 20...29 kA, T/M - Adjustable Thermal / Fixed Magnetic, Rated Current 32A |  |  | 0 | 1 | 0 | 0 | Stocked | 1.36
16.1 |  | 1 | 140U-H-RVM12R | Rotary, Variable-Depth Operating Mechanism, NEMA 4X, 12" Red/Yellow |  |  | 0 | 1 | 0 | 0 | Stocked | 0
17 |  | 1 | 1489-A3C070 | UL489/CSA 22.2 No 5.1 Circuit Breaker, 3 Pole, Trip Curve C, 7 Amp, 480Y/277 VAC |  |  | 0 | 1 | 0 | 0 | Stocked | 0
18 |  | 1 | 1489-A2D100 | UL489/CSA 22.2 No 5.1 Circuit Breaker, 2 Pole, Trip Curve D, 10 Amp, 480Y/277 VAC |  |  | 0 | 1 | 0 | 0 | Stocked | 0
380VAC / 480VAC 3 Pole Fused Disconnect Power Option
19 |  | 1 | 194R-D32-1753 | 194R NextGen Disconnect Switch, Open, DIN fuse, 32 A, 3 Pole, , |  |  | 0 | 1 | 0 | 0 | Stocked | 0
20 |  | 1 | 194R-HS4E | Operating Handle, With Defeater, Red/Yellow, NEMA Type 3R/3/12/4/4X - IP66 |  |  | 0 | 1 | 0 | 0 | Stocked | 0
21 |  | 1 | 194R-R1 | Operating Shaft, Standard Length, 263mm (10.3 in.) |  |  | 0 | 1 | 0 | 0 | Stocked | 0
22 |  | 1 | 1489-A3C070 | UL489/CSA 22.2 No 5.1 Circuit Breaker, 3 Pole, Trip Curve C, 7 Amp, 480Y/277 VAC |  |  | 0 | 1 | 0 | 0 | Stocked | 0
23 |  | 1 | 1489-A2D100 | UL489/CSA 22.2 No 5.1 Circuit Breaker, 2 Pole, Trip Curve D, 10 Amp, 480Y/277 VAC |  |  | 0 | 1 | 0 | 0 | Stocked | 0
Power Circuit Components - 380/400 VAC, 3 pole Fused Disconnect Option
480VAC 3 Pole Fused Disconnect Power Option
24 |  | 1 | 194R-C30-1753 | 194R NextGen Disconnect Switch, Open, CC fuse, 30 A, 3 Pole, , |  |  | 0 | 1 | 0 | 0 | Stocked | 0
25 |  | 1 | 194R-HS4E | Operating Handle, With Defeater, Red/Yellow, NEMA Type 3R/3/12/4/4X - IP66 |  |  | 0 | 1 | 0 | 0 | Stocked | 0
26 |  | 1 | 194R-R1 | Operating Shaft, Standard Length, 263mm (10.3 in.) |  |  | 0 | 1 | 0 | 0 | Stocked | 0
27 |  | 1 | 1489-A3C070 | UL489/CSA 22.2 No 5.1 Circuit Breaker, 3 Pole, Trip Curve C, 7 Amp, 480Y/277 VAC |  |  | 0 | 1 | 0 | 0 | Stocked | 0
28 |  | 1 | 1489-A2D100 | UL489/CSA 22.2 No 5.1 Circuit Breaker, 2 Pole, Trip Curve D, 10 Amp, 480Y/277 VAC |  |  | 0 | 1 | 0 | 0 | Stocked | 0
Power Circuit Components - 480 VAC, 3 pole Fused Disconnect Option
480VAC 3 Pole Fused Disconnect Power Option
29 |  | 1 | 194R-C30-1753 | 194R NextGen Disconnect Switch, Open, CC fuse, 30 A, 3 Pole, , |  |  | 0 | 1 | 0 | 0 | Stocked | 0
30 |  | 1 | 194R-HS4E | Operating Handle, With Defeater, Red/Yellow, NEMA Type 3R/3/12/4/4X - IP66 |  |  | 0 | 1 | 0 | 0 | Stocked | 0
31 |  | 1 | 194R-R1 | Operating Shaft, Standard Length, 263mm (10.3 in.) |  |  | 0 | 1 | 0 | 0 | Stocked | 0
32 |  | 1 | 1489-A3C070 | UL489/CSA 22.2 No 5.1 Circuit Breaker, 3 Pole, Trip Curve C, 7 Amp, 480Y/277 VAC |  |  | 0 | 1 | 0 | 0 | Stocked | 0
33 |  | 1 | 1489-A2D100 | UL489/CSA 22.2 No 5.1 Circuit Breaker, 2 Pole, Trip Curve D, 10 Amp, 480Y/277 VAC |  |  | 0 | 1 | 0 | 0 | Stocked | 0
Subtotal: $ 0.00